# Title 15: Mississippi State Department of Health

# Part 18: Division of On-site Wastewater

# Subpart 77: On-site Wastewater Regulations

Rule 1.6.5	Replacement.  Any malfunctioning IOWDS that will require the installation of both treatment and disposal within 45 days of one another will require the Applicant to comply with Subchapter 5. New System

Rule 1.7.2 	Exemption. Utilization of the exemption by the Applicant requires the following:

- Applicant must attest that a single residence will be placed on a single two (2) - acre or larger tract of land during the Notice of Intent process and must acknowledge that they have been informed that the following entities may require the Department’s Final Approval:

  - Board of Supervisor (Ordinance)

  - Water Supplier/Association (Bylaws and/or Water User’s Agreement)

  - Lending Institution

  - Utility Authority

  - Others (subdivision covenants, etc.)

- If an additional residence on the same tract is requested to be exempt, the tract must be five (5) acres or larger.

- Commercial facilities as defined by Rule 3.1.11.1 are not eligible for exemption.

# Title 15: Mississippi State Department of Health

# Part 18: Division of On-site Wastewater

# Subpart 77: On-site Wastewater Regulations

Rule 1.6.5	Replacement.  Any malfunctioning IOWDS that will require the installation of both treatment and disposal within 45 days of one another will require the Applicant to comply with Subchapter 5. New System

Rule 1.7.2 	Exemption. Utilization of the exemption by the Applicant requires the following:

- Applicant must attest that a single residence will be placed on a single two (2) - acre or larger tract of land during the Notice of Intent process and must acknowledge that they have been informed that the following entities may require the Department’s Final Approval:

- Board of Supervisor (Ordinance)

- Water Supplier/Association (Bylaws and/or Water User’s Agreement)

- Lending Institution

- Utility Authority

- Others (subdivision covenants, etc.)

- If an additional residence on the same tract is requested to be exempt, the tract must be five (5) acres or larger.

- Commercial facilities as defined by Rule 3.1.11.1 are not eligible for exemption.